### Safety Regulations – 2019  JHB HOMEMAKERS Expo

### General Safety Requirements

The following aspects of fire safety must be reported to the Organiser prior to the start of build-up at the Expo. This must be done in order to allow for liaison with and approval by the Fire and Emergency Services, Metro Police and South African Police Services where applicable.

- Approval for any open flame/gas display from the Fire Department must be applied for one month prior to the expo date. Exhibitors to indicate the intended use and safety precautions they are taking.

- The site visit by the Fire Department will take place one day prior to the expo date. Written permission from the Chief Fire Officer is required for storage or use of hazardous substances, flammable liquids, liquid petroleum, gas, open fires and demonstrations using naked flames or welding during the construction phase or demonstration of products during expo hours.

- All flammable and combustible materials and components must be declared and treated with a flame-retardant. A certificate must be obtained and a copy of the certificate must be handed to the Organisers by deadline date 27 January 2017. These materials must be stored in purpose-made safety containers in minimum quantities.

- Any flammable materials must be treated with a fire retardant substance and certified as such prior to commencement of construction. Should no certificate of fire retardation be supplied by an exhibitor, the Fire Department Emergency Management Services have the right to fine transgressors.

- The Fire and Emergency Services will conduct an inspection of the exhibition on the last day of build-up to ensure compliance and should full compliance with regulations not be met, they have the right to delay the opening of the event or fine transgressors.

### Fire Retardation

The local council by-Laws are quite specific regarding fire retardation: NO COMBUSTIBLE MATERIAL with a high fire rating may be displayed at any event. For a display to be approved it must be treated correctly or a low level of combustibility must be attained.

- Combustible materials include items such as draping/curtaining, backdrops, thatch, wood etc. Stage, audio, lighting and other production equipment used by the technical contractors is included in this definition.

- The Fire and Emergency Services have banned the use of hay and hessian from indoor exhibitions.

- Combustible materials are to be treated with a fire retardant substance as approved by the Fire and Emergency Services and compliant with SABS standards. Certificates from recognised suppliers confirming retardation must be submitted to the event organiser.

- Carpet fire rating must comply with SANS 10400.

- PVC used as a stand closure or as an exhibit is NOT allowed.

- When material draping is used as part of a display, please ensure the draping does not come into contact with electrical wiring, fittings and/or globes. Draping and curtaining must end no lower than 5cm above the carpeted floor.

### Gas Regulations

#### All Exhibitors are to abide by the following regulations relating to the use of LPG;

- The venue has maximum allowance for LPG and as such exhibitors will be granted approval based upon a first come first served basis.

- Only one 9kg gas cylinder is permitted per application. Greater quantities must be approved in writing by the local Council. Any spare cylinders must be stored outside of the building in a lockable facility. The keys for the facility will be retained by the event organiser who will oversee the exchange of LPG cylinders.

- A qualified installer with the relevant license must install the gas connection and sign off the installation on a Certificate of Compliance. A copy of the relevant license and Certificate of Compliance must be made available to the Fire & Emergency representative and a copy must be supplied to the venue's Safety Officer.

- A 9kg dry powder fire extinguisher must be installed in close proximity to the gas cylinder.

- Clear signage must be displayed indicating where the gas cylinder has been installed.

- Clear signage must be displayed indicating where the fire extinguisher has been installed.

- The gas cylinder must be easily accessible and not locked or blocked. All piping must be in good working order and have permanent connections with no leaks.

Exhibitors must inform the Organisers by 25 January 2019 if you intend using gas on your stand. Please e-mail Michelle Crouwkamp : michelle@homemakers-sa.co.za, who in turn will get authorization from the Health & Safety Officer.

### Occupational Health & Safety

In terms of the Occupational Health & Safety Act No. 85 of 1993 (OCHSA) it is compulsory for all Exhibitors and their sub-contractors working on the Expo to comply with the Safe Working Practices, as well as the guidelines and regulations as set out in the Act.

Complete compulsory indemnity Form No. 1 on the Exhibitor Web-site and return to the Organisers by deadline date 25  January 2019.

Staff and contractors shall be vigilant towards the effective management of health and safety and shall ensure that they comply with following practices which will be monitored and enforced by the Organisers:

- Aisles leading to emergency exits must be kept clear and unobstructed at all times. Minimum aisle width permitted is 3 metres.

- Hard hats are to be worn when working and access to hazardous areas must be restricted and monitored.

- Suitable personal protective equipment (PPE) including eye, ear, foot and hand protection is to be used where relevant.

- Flammable liquids and substances must be stored correctly and segregated from waste and other risk areas.

- Chemicals and hazardous liquids must be removed from the venue after the event and disposed of in a safe and proper manner.

- Hazardous materials must not be disposed of in general refuse areas.

- Portable power equipment is to be used correctly and all safety guards must be correctly fitted and used.

- Ensure that portable power equipment is used with a minimum length of trailing leads and not left unattended.

- Forklifts are not used by anyone other than fully trained and authorised personnel. Forklift operator licenses must be submitted to the event organiser be work commences.

- The use of scaffolding structures must be carried out in accordance with established standards and legislation.